## 1300
SERIES 1000: SECTION 1300
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1300 | CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS
PS 13.01 | Contractor's General Obligations
(a) | Fixed Obligations | lump sum | 1
(b) | Value Related Obligations | lump sum | 1
(c) | Time Related Obligations | Month | 24
PS13.02 | Authorized Compensations
(a) | Allow Provision Sum for authorised compensations | P.S. | 1 | 70000000 | 70000000
(b) | Handling costs and profits in respect of subitem PS13.02(a) | % | 70000000
(state as % and extend as an amount)
PS13.03: | Relocation of Services
(a) | Allow Provisional sum allowed for the protection and relocation of services | P.S | 1 | 150000000 | 150000000
(b) | Handling Cost and profit in respect of item PS13.03 (a) | % | 150000000
PS 13.04 | Project Signboard
| Allow for the provision, erection and maintenance of sign boards and their removal on completion of the contract | No. | 2
PS13.05 | Contractor's Environmental and Social Obligations
(a) | Allow for the undertaking and implementation of all the requirements of the Environmental and Social Management Plan | lump sum | 1
(b) | Provide assistance and environmental training to staff | P.S | 1 | 7200000 | 7200000
(c) | Handling costs and profit in respect of sub-items PS13.05 (b) | % | 7200000 | 10% | 720000
(d) | Provide Road Safety training to staff and the surrounding community | P.S | 1 | 10000000 | 10000000
(e) | Handling costs, profit and overheads in respect of Item 13.05 (d) | % | 10000000
PS13.06 | AIDS and Occurrence of Pandemic Awareness
(a) | Training | P.S. | 1 | 7680000 | 7680000
(b) | Remuneration of the workers undergoing training | P.S. | 1 | 5000000 | 5000000
(c) | Occurrence of pandemic (i.e., covid 19) Prevention Measures | P.S. | 1 | 5000000 | 5000000
(d) | Handling costs and profit in respect of sub-items PS13.06(a), (b),
| and (c) (state as % and extend as an amount) | % | 17680000
PS13.07 | Public Awareness Programmes
(a) | Television and Radio Broadcast and Print Media Publications | P.S. | 1 | 5000000 | 5000000
(b) | Sensitization of the surrounding community | P.S. | 1 | 5000000 | 5000000
(c) | Handling costs and profit in respect of sub-items PS13.07(a) and (b) | % | 10000000
1300 | TOTAL CARRIED TO MAIN SUMMARY

## 1400
SERIES 1000: SECTION 1400
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1400 | HOUSING, OFFICES AND LABORATORIES FOR ENGINEERS SITE PERSONNEL
PS14.01 | Office and Laboratory Accomodation
(a ) | Office building as specified in drawings | Lump Sum | 1
(b) | Laboratory building as specified in drawings | Lump Sum | 1
PS14.02 | Office and Laboratory Furniture
(a) | Office furniture as specified in the Particular Specifications | Lump Sum | 1
(b) | Laboratory furniture as specified in the Particular Specifications | Lump Sum | 1
PS14.03 | Laboratory fittings, Installations and Equipment
(a) | Office fittings, installations and equipment (except computers) | Lump Sum | 1
(b) | Laboratory fittings, installations and equipment | Lump Sum | 1
PS14.08 | Services:
(a) | Office and laboratory | Month | 24
PS14.12 | Security at Engineer's Office and Laboratory | Month | 24
PS14.13 | Provision of semi-skilled labour for use by the Engineer
(a) | Provision of labourers | P.S | 1 | 14400000 | 14400000
(b) | Handling costs and profit in respect of sub-item PS14.13 (a) | % | 14400000
PS14.14 | Survey equipment for use by the Engineer
(a ) | Supply and maintenance of the survey equipment for use by the Engineer | Month | 24
TOTAL CARRIED TO MAIN SUMMARY

## 1500
SERIES 1000: SECTION 1500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1500 | ACCOMMODATION OF TRAFFIC
PS15.01 | Accommodating traffic, including all notices, signing, construction, providing, maintaining and reinstating temporary diversions. | km | 12
1500 | TOTAL CARRIED TO MAIN SUMMARY

## 1700
SERIES 1000: SECTION 1700
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1700 | CLEARING AND GRUBBING
PS17.01 | Clearing and grubbing | Ha | 47
17.02 | Removal and grubbing of large trees and tree stumps
(a) | Girth larger than 1.0m up to and including 2.0m | No | 20
(b) | Girth larger than 2.0m up to and including 3.0m | No | 5
PS17.04 | Demolition, dismantling, removal and clearing of existing structures
(a) | Masonry Structures | m³ | 80
(b) | Mass concrete structures | m³ | 1170
PS17.05 | Treatment of ant or termite holes with approved insecticide | m2 | 100
1700 | TOTAL CARRIED FORWARD TO SUMMARY

## 1800
SERIES 1000: SECTION 1800
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PS1800 | DAYWORKS (With Provisional Quantities)
PS18.01 | Personnel during normal working hours
(a) | Unskilled labour | h | 75
(b) | Semi - skilled labour | h | 75
(c) | Skilled labour | h | 75
(d) | Ganger | h | 75
(e) | Flagmen | h | 75
(f) | Operators | h | 75
(g) | Foremen | h | 75
(h) | Surveyor | h | 75
(i) | Lab technician | h | 75
PS18.02 | Personnel outside normal working hours
(a) | Unskilled labour | h | 60
(b) | Semi - skilled labour | h | 60
(c) | Skilled labour | h | 60
(d) | Ganger | h | 60
(e) | Flagmen | h | 60
(f) | Operators | h | 60
(g) | Foremen | h | 60
(h) | Surveyor | h | 60
(i) | Lab technician | h | 60
PS18.03 | Plant
(a) | Tip truck 10m³ | h | 36
(b) | Motor grader complete with scarifier (CAT 140G or equivalent) | h | 36
(c) | Wheeled loader (CAT 980G or equivalent) | h | 36
(d) | Tractor-Loader-Backhoe (CAT 450 or equivalent) | h | 36
(e) | Water bowser – self-propelled (10,000 litres) | h | 36
(f) | Vibratory roller (123KW, 10T) | h | 36
(g) | Pneumatic roller (123KW, 10T) | h | 36
(h) | Grid roller with tractor (5 - 7 tons) | h | 36
(i) | Tractor (110 HP) | h | 36
(j) | Tracked excavator (CAT 223 or equivalent) | h | 36
(k) | Bulldozer (CAT D8R or equivalent) | h | 36
(l) | Excavator (CAT 225 or equivalent) | h | 36
(m) | Concrete mixer (15 HP, 0.5 m³) | h | 36
(n) | Water Pump | h | 36
(o) | Light Duty Vehicle | km | 200
(p) | Flatbed truck | km | 200
PS18.04 | Materials
(a) | Procurement and supply of materials | P.S. | 1 | 5000000 | 5000000
(b) | Contractor’s handling costs, profit and all other charges in
| respect of sub item PS18.04(a) | % | 5000000 | 10% | 500000
PS18.05 | Transport
(a) | Light Duty Vehicle | km | 200
(b) | Flatbed truck | km | 200
1800 | TOTAL CARRIED TO MAIN SUMMARY

## 2100
SERIES 2000: SECTION 2100
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2100 | DRAINS
21.01 | Excavating for open drains:
(a) | Excavating soft material situated within the following depth ranges
below the surface level:
(i) | 0 m up to 1.5 m | m³ | 12500
(ii) | Exceeding 1.5 m and up to 3.0 m | m³ | 1250
(iii) | Extra over Subitem 21.01(a) for excavation in hard marterial irrespective of depth | m³ | 937.5
21.03 | Excavation for subsoil drainage systems
(a) | excavating soft material situated within the following depth ranges below
the surface level:
(i) | 0 m up to 1.5 m | m³ | 7500
(b) | Extra over Subitem 21.03(a) for excavation in hard material irrespective
| of depth | m³ | 400
21.06 | Natural permeable material in subsoil drainage systems (crushed stone):
(a) | Crushed stone obtained from approved sources on site (19mm ggregate): | m3 | 1500
(b) | Rockfill | m³ | 4000
21.07 | Natural permeable material in subsoil drainage systems ( sand):
(a) | Sand obtained from approved sources on the site | m3 | 150
21.08 | Pipes in subsoil drainage systems:
(b) | C10 110mm peforated PVC pipes and fittings, normal duty, complete with couplings | m | 1500
21.09 | Polyethethlene sheeting, 0.15 mm thick or similar approved material, for
| lining subsoil drainage systems | m2 | 12000
PS21.20 | Backfill existing drains within road prism | m³ | 3500
2100 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 2200
SERIES 2000: SECTION 2200
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2200 | PREFABRICATED CULVERTS
22.01 | Excavation
(a) | Excavating soft material situated within the following depth
ranges below the surface level:
(i) | 0m up to 1.5m | m3 | 3000
(ii) | Exceeding 1.5m and up to 3.0m | m3 | 900
(b) | Extra over Subitem 22.01(a) for excavation in hard material,
| irrespective of depth | m3 | 750
PS22.02 | Backfilling
(a) | Using the excavated material | m3 | 1500
(b) | Using imported selected material | m3 | 750
(c) | Extra over Subitems 22.02(a) and (b) for soil cement
| backfilling (3% cement) | m3 | 375
22.03 | Concrete pipe culverts
(b) | On Class A bedding (Spigot and socket pipes, SABS 677,
Class 50D culverts)
(ii) | 900mm diameter | m | 360
22.07 | Cast in situ concrete
(a) | In Class A bedding, screeds and the encasing for pipes, including formwork, (Class 15/19 concrete) | m3 | 130
(c) | In inlet and outlet structures , catchpits, manholes, thrust and
anchor blocks, excluding formwork but including Class U2
| surface finish (class 25/19 concrete) | m3 | 200
(d) | Formwork of concrete under Item 22.07(c):
(i) | to provide Class F2 finish to all sides of culvert head and wing
walls, apron slab keys, infill concrete between cells and wing wall
| footings and inlet & outlet structures | m2 | 1050
22.08 | Concrete backfill for culverts (Class 15/19 concrete) | m3 | 155
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BROUGHT FORWARD |  |  |  |  | 0
22.1 | Steel reinforcement
(b) | High-tensile steel bars | tonne | 15
22.12 | Removing existing concrete
(a) | Plain concrete | m3 | 60
(b) | Reinforced concrete | m3 | 50
PS22.14 | Removing and stacking existing culverts of all sizes and types | m | 300
22.21 | Accessories
(a) | Manhole covers including frames SABS Type 8B | No | 48
PS22.23 | Service ducts
(a) | Ordinary pipes (PVC, not exceeding 300mm diameter) | m | 720
(b) | Concrete pipe culverts 900mm diameter | m | 720
22.24 | Duct marker blocks as per drawing No.RA/CON/2019-20/PCL/STD/MB/002-003 | No | 48
2200 | TOTAL CARRIED TO MAIN SUMMARY

## 2300
SERIES 2000: SECTION 2300
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2300 | CONCRETE KERBING, CONCRETE CHANNELING,
OPEN CONCRETE CHUTES AND CONCRETE LININGS
FOR OPEN DRAINS
23.01 | Concrete Kerbing (Class 25 for cast in situ concrete) as per drawing no. RA/CON/2019-20/STD/KB/001
(a) | Figure 1 | m | 900
(b) | Figure 8
| (ii) 8C | m | 1560
(c) | Figure 3 | m | 50320
23.02 | Concrete kerbing-channeling combination
(b) | Fig 3 and 14 combination, concrete class 25/19 | m | 25160
23.04 | Cast in situ concrete chutes (measured by components)
(a) | Concrete class 25/19 | m3 | 150
(b) | Formwork, F2 surface finish | m2 | 1000
23.07 | Trimming of excavations for concrete-lined open drains
(a) | In soft material | m2 | 20200
(b) | In hard material | m2 | 2020
PS23.08 | Concrete lining for open drains:
(a) | Cast in situ concrete lining (Concrete Class 20/19) for open drains
(All types of drains including formwork Class F2 surface finish,
sealing of joints with approved sealant and weep holes)
(i) | 75mm thick to vertical or inclined surfaces | m2 | 20705
(ii) | 100mm thick to horizontal surfaces | m2 | 10360
(b) | Concrete class 20/19 in precast slabs 150mm thick to bridge open drain, Including reinforcement and all formwork (crossover slabs). | m3 | 150
23.11 | Concrete screed or backfill below chutes, Concrete Class 15/19 | m3 | 20
23.12 | Steel reinforcement
(c) | Welded steel fabric A98 Mesh wire | kg | 47850
PS 23.16 | Access bridge to DWG No PCL/CON/2022-23/PCL/STD/JI/002
(i) | Type 1 | No. | 5
(ii) | Type 2 | No. | 7
(iii) | Type 3 | No. | 4
(iv) | Type 4 | No. | 6
PS23.20 | Precast concrete class 25/19 cover panels including formwork,
F2 surface finish, as detailed in No RA/CON/2022-23/PCL/STD/DR/005
(a) | 150mm thick
(i) | Width not exceeding 2360mm | m | 1700
(b) | 200mm thick
(i) | Width not exceeding 2360mm | m | 1000
Carried Forward |  |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| Brought Forward |  |  |  | 0
PS23.21 | Extra over precast covers for
(a) | Panels with grates and frame | No | 50 | 90000
(b) | Panels with lifting hooks at the specified interval | No | 20 | 100000
PS23.22 | Concrete Pavements
(a) | Class 30/19 cast in situ concrete reinforced with mesh A393 in platforms for bus bays and lay bays as detailed in drawing RA/CON/2022-23/PCL/STD/BS/001 | m3 | 890 | 400000
2300 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 2500
SERIES 2000: SECTION 2500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
2500 | PITCHING, STONEWORK AND PROTECTION
AGAINST EROSION (2500)
25.01 | Stone pitching:
(b) | Grouted stone pitching | m2 | 2520
25.03 | Stone Masonry Walls
| (b) Cement mortared stone | m3 | 150
25.07 | Foundation trenches | m3 | 80
2500 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 3300
SERIES 3000: SECTION 3300 : MASS EARTHWORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3300 | MASS EARTHWORKS
PS33.01 | Cut and borrow to fill including unlimited free haul:
(a) | Gravel or soft material in compacted layer thicknesses of 200mm or less:
(i) | Compacted to 93% modified AASHTO density | m3 | 560000
(b) | Rock fill (as specified in Subclause 3209(c)) | m3 | 2250
PS33.03 | Extra over Item 33.01 for excavating and breaking down
material in:
(a) | Hard material | m3 | 28000
PS33.04 | Cut to spoil, including unlimited free haul, material obtained from
(a) | Soft excavation | m3 | 90000
(b) | Hard excavation | m3 | 4500
PS33.07 | Removal of unsuitable material obtained from any type of material
| and excavation at any layer thickness, unlimited free haul | m3 | 12250
PS33.10 | Roadbed preparation and the compaction of material:
(a) | Compacted to 90% modified AASHTO density | m3 | 54000
(b) | Compacted to 95% modified AASHTO density | m3 | 13500
33.12 | Insitu treatment of roadbed:
(a) | In situ treatment by ripping | m3 | 17500
3300 | TOTAL CARRIED TO MAIN SUMMARY

## 3400
SERIES 3000: SECTION 3400 : PAVEMENT LAYERS OF GRAVEL MATERIAL
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3400 | PAVEMENT LAYERS IN GRAVEL MATERIAL
PS34.01 | Pavement layers constructed from gravel taken from cut or | [5 empty] | Grader
| borrow, including unlimited free haul, all types of excavation, | [5 empty] | Earthworks
excess overburden and finishing off borrow areas:
(a) | Gravel selected layer, 150mm thick, compacted to:
(ii) | 93% modified AASHTO density | m3 | 72000
[7 empty] | 18 | 3240
(c) | Gravel subbase (unstabilised gravel) compacted to: | [5 empty] | 90
(ii) | 97% of modified AASHTO density to form 200mm or 150mm thick Subbase layer | m3 | 69000 |  |  | 12.15
[6 empty] | 24.3 | 291600 | 58320
| Bill items for works using materials obtained from cutting existing Pavement layers and stockpiled for re-use on selected areas | [6 empty] | 648 | 3240 | 133.3333
34.03 | Pavement layers constructed from gravel obtained from existing layers | [6 empty] | 20
(a) | Gravel selected layer compacted to 93% of modified AASHTO density, using | [6 empty] | 32.4
(i) | non-cemented material (150mm thick compacted layer) | m3 | 23400 |  |  |  |  | 30
3400 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 3500
SERIES 3000: SECTION 3500 : STABILISATION
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3500 | STABILISATION
PS35.01 | Chemical Stabilisation
(a) | 200mm thick extra over unstabilised compacted layers of Crushed stone base | m3 | 66500
(b) | 200mm thick extra over unstabilized compacted layers of Subbase course | m3 | 69000
PS35.02 | Chemical Stabilisation agent:
0
(a) | Ordinary Portland Cement | tonne | 4270
(e) | Anionic Stable Grade Bitumen emulsion | litres | 2870500
3500 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 3600
SERIES 3000: SECTION 3600 : CRUSHED STONE BASE OR SUBBASE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3600 | CRUSHED STONE BASE OR SUBBASE
36.01 | Crushed Stone Base:
(a) | Constructed from crushed stone obtained from commercial sources and compacted to 102% of modified AASHTO density, 37.5mm norminal maximum aggregate size | m3 | 66500
3600 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 3800
SERIES 3000: SECTION 3800 : BREAKING UP EXISITING PAVEMENT LAYERS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
38.01 | Excavating and removing existing bituminous material (except milled material)
(b) | Material to be disposed of with average depth of excavation:
| (i) Not exceeding 30mm | m2 | 4188.8
3800 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 4100
SERIES 4000: SECTION 4100 PRIME
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4100 | PRIME COAT
41.01 | Prime coat:
(c) | MC-30 cut back bitumen | litre
41.02 | Aggregate for blinding | m²
4100 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 4200
SERIES 4000: SECTION 4200 : ASPHALT BASE AND SURFACING
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4200 | ASPHALT BASE AND SURFACING
42.02 | Asphalt surfacing, 50mm thick, using 50/70 penetration grade bitumen, including binder and activer filler variations:
(a) | Continuosly graded, medium grade | m² | 270000
42.03 | Tack coat of 30% stable-grade emulsion | litre | 13500
42.06 | Trial Sections, 50mm thick | m² | 1000
42.07 | 100mm diameter cores in asphalt paving | No | 120
4200 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 5100
SERIES 5000: ANCILLARY ROADWORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE (MWK) | AMOUNT (MWK)
5100 | MARKER AND KILOMETRE POSTS
51.01 | Marker posts as per drawing no. RA/CON/2022-23/PCL/STD/MB/002-003 | No | 50
51.01 | Kilometer posts as per drawing no. RA/CON/2022-23/PCL/STD/MB/002-003 | No | 24
PS51.03 | Road reserve demarcation beacons as per drawing no RA/CON/2022-23/PCL/STD/MB/001 | No | 120
5100 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 5200
SERIES 5000: ANCILLARY ROADWORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE (MWK) | AMOUNT (MWK)
5200 | GUARDRAILS
PS52.13 | Galvanised and painted guardrails on concrete posts including end units and reflective plates as per drawing no. RA/CON/2022-23/PCL/STD/GR/001-005. | m | 1000
5200 | TOTAL CARRIED TO MAIN SUMMARY

## 5400
SECTION 5400
ITEM | DESCRIPTION | UNIT | QTY | RATE (MWK) | AMOUNT (MWK)
5400 | ROAD SIGNS
PS54.01 | Road sign boards with painted or coloured background.
Symbols, lettering and borders in Class 1 retro-reflective material,
complete with posts and supports prepainted galvanised steel
plate (Chromadek or approved equivalent) position as shown
on the drawings:
(a) | Area not exceeding 2m2 | m2 | 30
(b) | Area exceeding 2m2 but not 10m2 | m2 | 9
(c) | Area exceeding 10m2 | m2 | 15
PS54.10 | Erection of Standard Road signs | No | 120
5400 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 5500
SECTION 5500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5500 | ROAD MARKINGS
55.03 | Hot melt plastic road-marking material
(a) | 100mm wide white lines (broken or unbroken) | km
(b) | 100mm wide yellow lines (broken or unbroken) | km
(d) | White lettering and symbols | m2
(f) | Traffic island markings (any colour) | m2
55.05 | Road studs as specified | No
55.06 | Setting out and premarking the lines (Excluding traffic-island
| markings, lettering and symbols) | km
5500 | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## 5700
SECTION 5700
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5700 | LANDSCAPING, TOPSOILING AND GRASSING
PS57.01 | Trimming and shaping by hand and/or machine | km | 5
57.03 | Preparing the areas for grassing
(a) | Ripping | Ha | 7.2
(c) | Topsoiling within the road reserve, where the following materials are used:
(i) | Topsoil obtained from within the road reserve or borrow areas (free-haul 1.0km) | m3 | 2710
(ii) | Topsoil obtained by the Contractor from other sources (Including all haul) | m3 | 8010
57.04 | Grassing
(a) | Planting of Grass cuttings (Paspalum Grass) | Ha | 7.2
57.09 | Trees and Shrubs
(b) | Planting and Establishing
(i) | Trees | No | 1600
(ii) | Shrubs | No | 2500
PS 57.12 | Paving with interlocking blocks
(a) | On walkway and Median with 60mm thick, 25Mpa interlocking blocks | m2 | 67700
(b) | 30mm thick sand bedding for interlocking blocks | m2 | 67700
5700 | TOTAL CARRIED TO MAIN SUMMARY

## 6000 (box culvert 1.5 x 1.5)
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 1.5 X 1.5 SINGLE CELL BOX CULVERTS 1No. CH 1+902
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
2500 | PITCHING, STONEWORK AND PROTECTION
AGAINST EROSION (2500)
25.01 | Stone pitching:
(b) | Grouted stone pitching | m2 | 160
6100 | FOUNDATIONS FOR STRUCTURES
61.02 | Excavation:
(a) | Excavating soft material situated within the following successive
depth ranges:
(i) | 0 m up to 2 m | m3 | 130
(ii) | Exceeding 2m and up to 4m | m3 | 50
(b) | Extra over Subitem 61.02(a) for excavation in hard material
| irrespective of depth | m3 | 35
61.04 | Backfill to excavations utilising:
(a) | Material from the excavation | m3 | 45
(b) | Imported material | m3 | 110
61.08 | Foundation fill consisting of:
(a) | Rock fill | m3 | 60
(b) | Crushed stone fill | m3 | 40
6200 | FALSEWORK, FORMWORK AND CONCRETE FINISH
62.02 | (a) Vertical formwork to provide class F1, F2 surface
finish to:
| (i) Box Culverts | m2 | 340
62.03 | (a) Horizontal formwork to provide class F1,F2 surface
finish to:
| (i) Box Cuverts | m2 | 50
TOTAL CARRIED FORWARD
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 1.5 X 1.5 SINGLE CELL BOX CULVERTS 1No. CH1+902
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
TOTAL BROUGHT FORWARD
6300 | STEEL REINFORCEMENT FOR STRUCTURES
63.01 | Grade 460N/mm2 high- yield steel reinforcement for:
| (a) Box Culverts | t | 15
6400 | CONCRETE FOR STRUCTURES
64.01 | Cast In Situ Concrete:
(a) Class 30/19 concrete for the following elements:
| (i) Substructure and superstructure for box culverts | m3 | 105
(c) Class 15/19 concrete for the following elements:
| (i) Blinding under foundations | m3 | 15
6600 | NO-FINES CONCRETE, JOINTS, BEARINGS, PARAPETS AND
DRAINAGE STRUCTURES
66.19 | Drainage pipes and weep holes
(a) Drainage pipes :
| (i) PVC perforated drain pipes 150mm diameter | m | 70
66.23 | Crushed stone in drainage strips | m³ | 15
TOTAL CARRIED TO MAIN SUMMARY

## 6000 (box culvert 2.0 x 1.5
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 2.0 X 1.5 SINGLE CELL BOX CULVERTS 1No. CH 3+113
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
2500 | PITCHING, STONEWORK AND PROTECTION
AGAINST EROSION (2500)
25.01 | Stone pitching:
(b) | Grouted stone pitching | m2 | 160
6100 | FOUNDATIONS FOR STRUCTURES
61.02 | Excavation:
(a) | Excavating soft material situated within the following successive
depth ranges:
(i) | 0 m up to 2 m | m3 | 210
(ii) | Exceeding 2m and up to 4m | m3 | 105
(b) | Extra over Subitem 61.02(a) for excavation in hard material
| irrespective of depth | m3 | 35
61.04 | Backfill to excavations utilising:
(a) | Material from the excavation | m3 | 225
(b) | Imported material | m3 | 150
61.08 | Foundation fill consisting of:
(a) | Rock fill | m3 | 80
(b) | Cruahed stone fill | m3 | 45
6200 | FALSEWORK, FORMWORK AND CONCRETE FINISH
62.02 | (a) Vertical formwork to provide class F1, F2 surface
finish to:
| (i) Box Culverts | m2 | 380
62.03 | (a) Horizontal formwork to provide class F1,F2 surface
finish to:
| (i) Box Cuverts | m2 | 60
TOTAL CARRIED FORWARD
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 2.0 X 1.5 SINGLE CELL BOX CULVERTS 1No. CH 3+113
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
TOTAL BROUGHT FORWARD
6300 | STEEL REINFORCEMENT FOR STRUCTURES
63.01 | Grade 460N/mm2 high- yield steel reinforcement for:
| (a) Box Culverts | t | 17
6400 | CONCRETE FOR STRUCTURES
64.01 | Cast In Situ Concrete:
(a) Class 30/19 concrete for the following elements:
| (i) Substructure and superstructure for box culverts | m3 | 100
(c) Class 15/19 concrete for the following elements:
| (i) Blinding under foundations | m3 | 15
6600 | NO-FINES CONCRETE, JOINTS, BEARINGS, PARAPETS AND
DRAINAGE STRUCTURES
66.19 | Drainage pipes and weep holes
(a) Drainage pipes :
| (i) PVC perforated drain pipes 150mm diameter | m | 80
66.23 | Crushed stone in drainage strips | m³ | 15
TOTAL CARRIED TO MAIN SUMMARY

## 6000 (box culvertS 2.0 x 2.0)
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 2.0 X 2.0 SINGLE CELL BOX CULVERTS 4No. CH0+638, CH1+278, CH1+781 & CH6+420
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
2500 | PITCHING, STONEWORK AND PROTECTION
AGAINST EROSION (2500)
25.01 | Stone pitching:
(b) | Grouted stone pitching | m2 | 640
6100 | FOUNDATIONS FOR STRUCTURES
61.02 | Excavation:
(a) | Excavating soft material situated within the following successive
depth ranges:
(i) | 0 m up to 2 m | m3 | 150
(ii) | Exceeding 2m and up to 4m | m3 | 125
(b) | Extra over Subitem 61.02(a) for excavation in hard material
| irrespective of depth | m3 | 20
61.04 | Backfill to excavations utilising:
(a) | Material from the excavation | m3 | 60
(b) | Imported material | m3 | 150
61.08 | Foundation fill consisting of:
(a) | Rock fill | m3 | 80
(b) | Cruahed stone fill | m3 | 50
6200 | FALSEWORK, FORMWORK AND CONCRETE FINISH
62.02 | (a) Vertical formwork to provide class F1, F2 surface
finish to:
| (i) Box Culverts | m2 | 500
62.03 | (a) Horizontal formwork to provide class F1,F2 surface
finish to:
| (i) Box Cuverts | m2 | 100
TOTAL CARRIED FORWARD
SERIES 6000: STRUCTURES
PROJECT: CAPACITY IMPROVEMENT OF KIA TO KANENGO (M001) ROAD TO DUAL CARRIAGEWAY
CONSTRUCTION OF 2.0 X 2.0 SINGLE CELL BOX CULVERTS 4No. CH0+638, CH1+278, CH1+781 & CH6+420
BILL ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (MK) | AMOUNT (MK)
TOTAL BROUGHT FORWARD
6300 | STEEL REINFORCEMENT FOR STRUCTURES
63.01 | Grade 460N/mm2 high- yield steel reinforcement for:
| (a) Box Culverts | t | 61.3
6400 | CONCRETE FOR STRUCTURES
64.01 | Cast In Situ Concrete:
(a) Class 30/19 concrete for the following elements:
| (i) Substructure and superstructure for box culverts | m3 | 375
(c) Class 15/19 concrete for the following elements:
| (i) Blinding under foundations | m3 | 120
6600 | NO-FINES CONCRETE, JOINTS, BEARINGS, PARAPETS AND
DRAINAGE STRUCTURES
66.19 | Drainage pipes and weep holes
(a) Drainage pipes :
| (i) PVC perforated drain pipes 150mm diameter | m | 250
66.23 | Crushed stone in drainage strips | m³ | 50
TOTAL CARRIED TO MAIN SUMMARY

## 7100
SERIES 7000: TESTING AND QUALITY CONTROL
ITEM | DESCRIPTION | UNIT | QTY | RATE (MWK) | AMOUNT (MWK)
7100 | TESTING OF MATERIALS AND WORKMANSHIP
71.02 | Other special tests requested by the Engineer:
(a) | Cost of testing | PC sum | 1 | 10000000 | 10000000
(b) | Charge on prime cost sum | % | 10000000 | 10% | 1000000
7100 | TOTAL CARRIED TO MAIN SUMMARY

## 8000
SERIES PS8000: SPEED CALMING FEATURES
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PS8100 | HUMPS AND RUMBLE STRIPS
PS81.01 | Humps and Rumble Strips
(a) | Installation of humps as per drawing detail RA/CON/2022-23/PCL/STD/TCM/001-002 | No. | 20
(b) | Installation of rumble strips in sets of five as per drawing detail RA/CON/2022-23/PCL/STD/TCM/001-002 | Set | 5
8000 | TOTAL CARRIED TO MAIN SUMMARY

## 9000
SERIES PS9000: SUPPLY, INSTALLATION AND COMMISSIONING OF STREET LIGHTING SYSTEM
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PS90.00 | SUPPLY, INSTALLATION AND COMMISSIONING OF STREET LIGHTING SYSTEM
PS90.01 | Glass Fibre Reinforced Polyester (GRP) poles as per drawing No RA/CON/2021-22/LL-KIA/PCL/308 | No | 829
PS90.02 | Supply and installation of 50W all in one solar street light | No | 829
9000 | TOTAL CARRIED TO MAIN SUMMARY

## Summary
MAIN SUMMARY
SECTION | DESCRIPTION |  | AMOUNT
1300 | CONTRACTOR’S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS | #REF!
1400 | HOUSING, OFFICES AND LABORATORY FOR THE ENGINEER’S SITE PERSONNEL | #REF!
1500 | ACCOMMODATION OF TRAFFIC
1700 | CLEARING AND GRUBBING
1800 | DAY WORK
2100 | DRAINS
2200 | PREFABRICATED CULVERTS
2300 | CONCRETE KERBING, CONCRETE CHANNELLING CHUTES AND DOWNSPIPES, AND CONCRETE LININGS FOR OPEN DRAINS
2500 | PITCHING, STONEWORK AND PROTECTION, AGAINST EROSION (2500)
3300 | MASS EARTHWORKS
3400 | PAVEMENT LAYERS
3500 | STABILISTAION
3600 | CRUSHED- STONE BASE OR SUBBASE
3800 | BREAKING UP EXISTING PAVEMENT
4100 | PRIME COAT
4200 | ASPHALT BASE AND SURFACING
5100 | MARKER AND KILOMETRE POSTS
5200 | GUARDRAILS
5400 | ROAD SIGNS
5500 | ROAD MARKINGS
5700 | LANDSCAPING AND PLANTING PLANTS
6000 | STRUCTURES
1.5 x 1.5 SINGLE CELL BOX CULVERT 1 NO. CH 1+902
2.0 x 1.5 SINGLE CELL BOX CULVERT 1 NO. CH 3+113
2.0 x 2.0 SINGLE CELL BOX CULVERT 4 NO. CH0+638, CH1+278, CH1+781 & CH6+420
7100 | TESTING MATERIAL AND WORKMANSHIP
8000 | ENVIRONMENTAL AND SOCIAL IMPACT MITIGATION
9000 | STREET LIGHTING
TOTAL SCHEDULE A: ROAD CONSTRUCTION |  |  | 0
CALCULATION OF TENDER SUM
TOTAL OF SCHEDULE OF QUANTITIES KIA - KANENGO ROAD |  |  | 0
A-SUB-TOTAL |  |  | 0
B-CONTINGENCIES
The sum provided here is under the sole control of the
Engineer and may be deducted in whole or in part. (The Tenderer must add 10% of the total of schedule of quantities)
. . . . . . . . . . . . . . . . . . . . . |  |  | 0
C-SUBTOTAL (1) (A+B) |  |  | 0
D-PPDA Levy (1%) (Add 1% of A)
E-VALUE-ADDED TAX (VAT) The tenderer shall add 16.5% of C |  |  | 0
TENDER SUM CARRIED TO FORM OF TENDER (C+D+E) |  |  | 0
Signed: [signature of person whose name and capacity are shown below]
Name: [insert complete name of person signing the Bid]
In the capacity of [insert legal capacity of person signing the Bid]
Duly authorised to sign the Bid for and on behalf of: [insert complete name of Bidder/Joint Venture/Consortium/Association]
Dated on ____________ day of __________________, _______ [insert date of signing]